## Slide 1: The LWA Software Library
Jayce Dowell – LWA Users’ Meeting – July 27, 2012

## Slide 2: Overview

## Slide 3: Motivation and Design Philosophy
LWA1 data is…
  In the time, not frequency, domain
  Large
    ~75 MB/s for one beam (two tunings, two polarizations per tuning)
    TBW/TBN data captures all 520 DP inputs
The software needs…
  Tools for performing the time to frequency conversion
  Flexibility…
    On the number of inputs (4 for DRX to 520 for TBN)
    Methods used (signal processing, data windowing, RFI excision…)

## Slide 4: Motivation and Design Philosophy
The LWA Software Library (LSL)
  Python module for working with LWA data
  Contains a collection of utilities for performing basic data manipulations (FFT, manual beam forming, etc.)
    Uses C extensions for speed when needed
  A framework that allows for complicated analysis
Note:
  LSL is not an end-to-end data analysis package, e.g., AIPS or CASA

## Slide 5: Core Components
LSL
Common
  Routines common to a wide variety of data
Readers
  Reading the raw DP formats
Analysis
  Basic analysis “building blocks”
Writers
  Export data to other formats, e.g., FITS files

## Slide 6: Typical Data Flow
Read
Both real and metadata
Crunch
Convert to frequency domain
Write
HDF5
NPZ
…
Flag RFI (time domain and S-K)

## Slide 7: Extensions
Extensions add specific functionality to LSL
Three are currently available:
  Commissioning
    Set of scripts used for commissioning of LWA1
    Most similar to what is available in other environments, e.g., AIPS
  SessionSchedules
    Tools for creating and editing session definition files
  Pulsar
    Utility for converting DRX data into PSRFITS files

## Slide 8: User Support
Trac Page and On-line Documentation:
  http://fornax.phys.unm.edu/lwa/trac/wiki
Included Scripts:
  Demonstrate a variety of data formats and processing options
LWA1 User’s Forum:
  http://lwa1.freeforums.org/

## Slide 9: Examples

## Slide 10: SessionSchedules – sessionGUI.py
sessionGUI.py provides a graphical interface for created session definition files for all three primary LWA1 data products

## Slide 11: Commissioning – drspec2hdf.py & plotHDF.py
drspec2hdf.py converts a DR spectrometer data file to a HDF5 file similar to what is created by hdfWaterfall.py
plotHDF.py reads in a HDF5 file created by drspec2hdf.py/hdfWaterfall.py and displays it in an interactive manner

## Slide 12: Combining SDFs & Spectrometer Data
Combines SDF and data to look at pointing cross scans (scans across source at constant dec. and RA)
SDF provides when the pointing changes/the current offset
Spectrometer data provides… the data

## Slide 13: Visualizing Waterfall Plots
X polarization of the LWA1 RFI Survey (Obenberger & Dowell 2011)
Random dot autostereogram
Frequency increases to the right, time to the top
Galactic minimum occurs near the middle of the image

## Slide 14: Visualizing Waterfall Plots
X polarization of the LWA1 RFI Survey (Obenberger & Dowell 2011)
Random dot autostereogram
Frequency increases to the right, time to the top
Galactic minimum occurs near the middle of the image